## 8.1
SECTION 8 - SCHEDULE OF PRICE
8.1. GENERAL
The tenderer shall complete this Schedule of Prices at the time of tender. The Government is under no obligation to accept the lowest tender and reserves the right to accept any tenders in part or full and to vary the quantities stated with no variation to the rates.
The prices entered in this schedule shall be for the supply, installation, testing and commissioning of the complete system and ancillary equipment/works in accordance with the requirements of the specification and drawing together with one (1) year (12 months) maintenance and guarantee as specified.
The tenderer shall give an accurate breakdown of the tender price sum for the whole works in the price schedule below. The tender price breakdown shall be inclusive of the cost of material, labour charges and all other incidentals necessary for the completion of the said works.
Where works are specified in the specifications or tender drawings or incidental to the contract and no corresponding price breakdown item are provided for, the cost of such work shall be deemed to be included under the relevant items of works in the tender price breakdown below.
For cases where there are discrepancies in quantities in the tender document, the higher quantity shall take precedent and applicable for the purpose tender pricing and the contractor shall clearly indicate in his tender submission.
The tender price breakdown may be used as a basis of making progress payment. However, the Superintending Officer or his representative reserves the rights to vary the price breakdown by making the necessary adjustment if in his opinion the breakdown given by the tenderer is unreasonable, when making such payment. Being a lump sum contract the full tender sum, after making adjustments for any variation to the works, shall be paid upon completion of all works specified.
The price of any variation to the works shall not necessarily be based on the corresponding price breakdown, if deemed reasonable it may be used, otherwise it shall be on agreed rates.
Where work is specified or incident to the contract and no corresponding payment item has been allowed for, the cost of such work shall be deemed to be included under the relevant items of work listed in the summary below.
The breakdown of prices are for major components in the schedule of prices and it is not exhaustive. It is the contractor's responsibility to price out for all scope of works as per tender drawings & specification even though is not specifically indicated in the schedule of prices.

## 8.2-General Items
8.2. GENERAL ITEMS
ITEM | DESCRIPTION |  | UNIT | QTY | PRICE
No. |  |  |  |  | (RM)
1 | Preliminaries in connection with the contract such as
insurance premium and all overhead charges, etc.
| a) | Public Liability Policy | lump | sum
| b) | Insurance of works on full sub-contract sum | lump | sum
| c) | Performance Bond | lump | sum
2 | Cost of attending site meetings, coordination meetings, complete |  | lump | sum
interfacing with others system and preparation of monthly reports.
3 | Preparation of Contract Documents c/w hard cover binding |  | 12 | sets
4 | Preparation (hard copy) of the complete items below:
| a) | Shop Drawings (A1 size) | 6 | sets
| b) | As-Built Drawings (A1 size) | 6 | sets
| c) | Operating and Maintenace Manual c/w catalogues, warranty | 6 | sets
cards and test records
| d) | Spare Parts and Repair Manual | 3 | sets
5 | Sample board, sample of workmanship (mock-up) for the
approval of S.O.
6 | All Civil Works necessary for complete installation of the above |  | lump | sum
systems include coring of floor, wall, hacking, digging, drilling,
cart away debris, etc. and making good to S.O satisfaction.
7 | Painting, directional marking of flow, safety warning signages |  | lump | sum
of the complete installation system.
8 | Preparation of CD of the complete contract document, |  | 2 | sets
as built drawings and cuircuit diagrams in the following
formats :
| a) | Specifications - MS Office
| b) | Filled-up Documents - Scanned
| c) | Drawings (contract & as-build) - Autocad 2002 or higher
| d) | Circuit Diagrams - Autocad 2002 or higher
| e) | Completed Installations - Digital Photos
9 | Testing and commissioning of the whole system as per |  | lump | sum
specification
10 | Training of client and facility managements representatives |  | lump | sum
for the operations and maintenance of the whole pool system
delivered under this contract.
11 | Other works not included in this section and/or Bills but |  | lump | sum
necessary for the satisfactory completion of the installation
works (please specify):-
| a) | ………………………………………………………………..
| b) | ………………………………………………………………..
| TOTAL FOR GENERAL ITEMS |  |  |  | 0
(CARRIED TO SUMMARY OF PRICES)

## 8.3-BQ
8.3 POOL EQUIPMENT SYSTEM
ITEM | DESCRIPTION |  | UNIT | QTY | RATE | PRICE
No. | [5 empty] | (RM)
1. | Supply and install (2 duty & 1 standby) Centrifugal End Suction Pool |  | Nos | 3
Filteration Pumpets c/w valves, flexible connections, pressure gauge
vibration isolators and all necessary accessories as per drawing and
specification.
2 | Supply and install Control Panel for swimming pool filtration |  | Lot | 1
pumps c/w surge protection device, phase indicator lights,
single phasing protection relays, CTs, ELCB, Ammeter, lightning
arrestor, Voltmeter, soft starters, earthing system and wiring to pumps,
level sensor, control system and all necessary accessories.
3 | Stainless Steel Hair and Lint Strainer |  | Nos | 3
4 | Supply and install Sand Filter c/w permanent sand media, pressure |  | Nos | 3
gauge, air release valve, and other standard accessories as per
drawing and specification.
5 | Supply and install multi function Manual multiport valves to suit |  | Nos | 3
sand filter arrangement.
6 | Supply and install Pool Disinfection System of the following:
| a) | Sodium hypochloride dosing pump c/w mounting bracket, dosing | Lots | 2
tube, injection nozzle and other standard accessories
| b) | Hydrochloric acid (HCl) dosing pump c/w mounting bracket, | Lots | 2
dosing tube, injection nozzle and other standard accessories
| c) | 1,000 liter capacity chemical tanks | Nos | 4
| d) | Automatic chemical regulation and control system c/w associated | Set | 1
piping, valves, cabling, control panel, sensors and other
necessary accessories.
7 | Supply and install UPVC Class E PN15 pressure pipe to MS 628
c/w UPVC flanged pipe fittings, elbow, tees, hanger, pipe support,
concrete, thrust block, U bolts and nuts of the following sizes:-
(Note: Pipe sleeve embedded in wall shall be of puddle
flange type)
| a) | 200mmØ. | Lump | Sump
| b) | 150mmØ. | Lump | Sump
| c) | 50mmØ. | Lump | Sump
8 | Supply and install valves and fittings of the following sizes;
| a) | 200mmØ flanged Gate Valve | Lump | Sump
| b) | 200mmØ flanged Butterfly Valve | Lump | Sump
| c) | 150mmØ flanged Gate Valve | Lump | Sump
| d) | 150mmØ flanged Butterfly Valve | Lump | Sump
| e) | Flanged rubber bellow connectors at pump inlet & outlet | Lump | Sump
| g) | 150mmØ flanged Check valves at pump outlet. | Lump | Sump
| h) | Reducers c/w union at pump inlet & outlet | Lump | Sump
| i) | 200mmØ Electromagnetic water flow meter at return pipe | No. | 1
| j) | Stainless steel flanged end Foot Valve at suction pipe | No. | 1
9 | Supply and install complete Pool Underwater LED Lighting |  | Lot | 1
c/w wiring to control panel, trunking, conduit, switch, junction box,
isolator and other necessary accessories to the fuctioning of the
system.
TOTAL OF POOL EQUIPMENT SYSTEM | [5 empty] | 0
(CARRIED TO SUMMARY OF PRICES)
8.4 ANCILLARY EQUIPMENT & OTHER WORKS
ITEM | DESCRIPTION |  | UNIT | QTY | RATE | PRICE
No. | [5 empty] | (RM)
1. | Supply and install mobile pool cleaning and servicing equipment |  | Lot | 1
c/w trolley consisting of:-
| a) | Self priming pool vacuum pump c/w viewable pre-filter, wiring, etc
| b) | 2 pieces aluminium telescopic pole extended to 13m (L)
| c) | Long handled stainless steel algae brush for scrubbing pool surfaces.
| d) | Long handled plastic brush for scrubbing pool surfaces.
| e) | Long handled pool skimmer and leaf rake.
| f) | Heavy duty flexible hose 30m (L) c/w hose reel
| g) | Pool flexible vacuum head
2. | To supply mobile stainless steel submersible drainage pump |  | Lump | Sum
c/w flexible discharge hose, isolation valves, strainer, check valve,
electrical level, sensor, piping, wiring and other necessary
accessories
3. | Start-up pool chemicals supplies for Testing & Commissioning |  | Lump | Sum
(Sodium hypochlorite, Hydrochloric Acid, aluminium sulphate etc.)
4. | Pool Chemical Supplies for 12 month during Defect Liability Period |  | Lump | Sum
5. | To provide testing of pool water quality check conducted by |  | Lump | Sum
3rd party lab/specialist before handling over.
6. | Supply and install water test kit digital photometer for |  | Set | 1
checking available free chlorine, PH level and total alkalinity.
7. | To provide heavy duty trolley. Max load capacity 150kg at Chemical |  | No | 1
Storage Room.
9. | To supply High Pressure Water Jet Cleaner 100 bar 240V c/w |  | No | 1
adjustable nozzle gun to complete the system at Pool Plant Room
10. | Supply Digital Platform Scale of max capacity 300kg c/w Stainless |  | No | 1
Steel platform at Chemical Storage Room.
11. | RC Plinth for chemical storage tanks at Pool Plant Room |  | Lot | 1
12. | Any other item not specified above (please specify)
a. ..................................................................
b. ..................................................................
c. ..................................................................
d. ..................................................................
TOTAL OF ANCILLARY EQUIPMENT & OTHER WORKS | [5 empty] | 0
(CARRIED TO SUMMARY OF PRICES)

## 8.5-SOP
8.5 SUMMARY OF PRICES
The total tender sum for the supply, delivery, installation, testing and commisioning inclusive
one (1) year servicing and maintenance for the Swimming Pool System and Ancillary Works is
as follow :
NO. | DESCRIPTION |  | PRICE (RM)
8.2 | GENERAL ITEMS |  | 0
8.3 | POOL EQUIPMENT SYSTEM |  | 0
8.4 | ANCILLARY EQUIPMENT & OTHER WORKS |  | 0
TOTAL (TO BE CARRIED OUT TO FORM OF TENDER) |  |  | 0
Ringgit Malaysia (RM) |  | :
Tandatangan Petender |  | :
Nama dan Alamat |  | :
(Dengan Cop)
Tarikh : |  | :
Tandatangan Saksi |  | :
Nama dan Alamat |  | :
(Dengan Cop)
Tarikh :

## 8.6-SOI2
8.6 SCHEDULE OF DELIVERY, INSTALLATION AND COMMISIONING
The Tenderer must submit the following information, ascertaining his capability to complete the
works by the stipulated date :
NO. | DESCRIPTION |  | WEEKS
1 | Delivery period of equipment from award of tender
2 | Installation period required
3 | Testing and commissioning period of equipment required
TOTAL (WEEKS INDICATED IN FORM OF TENDER)
This period refers to time taken to complete the whole of the Sub-contract Works from the date
of commencement.The commencement of the Sub-contract Works shall be one week from
the date of receipt of the Official Order from the Main Contractor.
Note: The whole works shall be completed before 06 July 2022 which is the date of
completion of the building contractor.
Tandatangan Petender |  | :
Nama dan Alamat |  | :
(Dengan Cop)
Tarikh : |  | :
Tandatangan Saksi |  | :
Nama dan Alamat |  | :
(Dengan Cop)
Tarikh : |  | :

## 8.7-SOR
8.7 SCHEDULE OF RATES FOR THE COMPREHENSIVE SERVICE AND MAINTENANCE
The tenderer is to note that the cost quoted for this shall not be included in the tender price but quoted
separately in the table below and it will be binding in the event that the Government decides to accept
them immediately after the guarantee period.
These rates should not be subjected to variation for the period of 3 years after the free maintenance period
The Specification for the Comprehensive Service and Maintenance is in Section 5.
RATES BASED ON CONTRACT PERIOD OF THREE YEARS ONLY
For Service and Maintenance of the Swimming Pool System and Ancillary Equipment at the above premises in strict accordance with the Tender Specifications and for supply of all consumable materials as and whenever required and to provide emergency repair service during normal working hours and overtime hours as required. |  | Charge Per Year (RM)
Tandatangan Petender | :
Nama Dan Alamat | :
( Dengan Cop )
Tarikh | :
Tandatangan Saksi | :
Nama Dan Alamat | :
( Dengan Cop )
Tarikh | :