## sum.
SUMMARY OF PRICES FOR
PEMASANGAN ELEKTRIK UNTUK GANTIAN BANGUNAN
DI SEKOLAH JENIS KEBANGSAAN (TAMIL) PAYA BESAR, KULIM, KEDAH
ITEM | DESCRIPTION |  | TOTAL COST (RM)
A. | PRELIMINARIES |  | #REF!
B. | WIRING |  | #REF!
C. | FITTINGS : LUMINAIRES & OTHERS |  | #REF!
D. | INTERNAL SUBMAIN CABLING |  | #REF!
E. | MAIN SWITCH BOARDS, POWER FACTOR CORRECTION BANK, SUB SWITCH BOARD AND DISTRIBUTION BOARD |  | #REF!
F. | EARTHING AND LIGHTNING PROTECTION SYSTEM |  | #REF!
G. | UNDERGROUND SUBMAIN CABLE & EXTERNAL WORK |  | #REF!
H. | COMPOUND & EXTERNAL LIGHTING |  | #REF!
I | TELEPHONE SYSTEM - INTERNAL INSTALLATION & EXTERNAL WORKS |  | #REF!
J | ICT INFRASTRUCTURE & CABLING |  | #REF!
K | PA SYSTEM |  | #REF!
L | SMATV SYSTEM |  | #REF!
TOTAL |  |  | #REF!
RINGGIT MALAYSIA : ………………………………………………………………………………………..
…………………………………………………………………………………………..
*Note : This total must agree with the total lump sum quoted in the form of tender otherwise
the tender may not be considered.
Date : ………………………….. |  | Signature : …..……………...………………………………..
Name : ………….……..……………………………………..
Designation : …….…………………………………………..
Company's Chop : ……..………..………………………….

## Sheet2
PEMASANGAN ELEKTRIK UNTUK ………………
SENARAI JENAMA BAHAN DAN PENGILANG
KELULUSAN EMAL JKR
ITEM | MATERIALS | BRAND | COUNTRY OF MANUFACTURE |  | BRAND | COUNTRY OF MANUFACTURE | MODEL
1 | LV MAIN SWITCH BOARDS/POWER FACTOR
CORRECTION BOARDS/ SUB SWITCH BOARDS/
FEEDER PILLAR/ DISTRIBUTION BOARDS,
FIREMAN RELAY AND ACCESSORIES.
(Other items please itemize)
1.1 | Low Voltage Switchboards (MSBs/ SSBs)
1.2 | Distribution Boards (DBs)
1.3 | ACB |  |  |  | ABB | MALAYSIA
1.4 | MCCBs
1.5 | MCCB c/w Built-in ELR |  |  |  | ABB | MALAYSIA
1.6 | MCB
1.7 | Earth Leakage Relays (ELR) |  |  |  | ABB | MALAYSIA
1.8 | Surge Protective Device (SPD) |  |  |  | ABB | MALAYSIA
1.9 | Power Factor Correction System |  |  |  | ABB | MALAYSIA
2 | EARTHING & LIGHTNING PROTECTION SYSTEM
(Please itemize)
2.1 | Aluminium Tape
2.2 | Copper Tape |  |  |  | Tokai | MALAYSIA
2.3 | Earth Chamber |  |  |  | Tokai | MALAYSIA
2.4 | Exothermic Welding |  |  |  | Furse | UK
2.5 | Tape Clips |  |  |  | E-Klips | UK
2.6 | Earth Rod
2.7 | Test Clamp
3 | COPPER CABLE & ACCESSORIES
(Other items please itemize)
3.1 | PVC/SWA/PVC cable |  |  |  | MEGA CABLE | MALAYSIA
3.2 | XLPE/SWA/PVC cable |  |  |  | MEGA CABLE | MALAYSIA
3.3 | PVC cable |  |  |  | MEGA CABLE | MALAYSIA
3.4 | MIFR cable/mineral insulated Fire resistance cable |  |  |  | PRYSMIAN (Power Cable) | UK
3.5 | XLPE/PVC cable
4 | SWITCHES, SOCKETS AND ACCESSORIES
(Other items please itemize)
4.1 | Steel Boxes for Switches and Socket Outlets
4.2 | Isolator |  |  |  | ABB | Finland
4.3 | Switches |  |  |  | PDL | MALAYSIA
4.4 | Switch Socket Outlet
5 | INDOOR LUMINAIRES & ACCESSORIES
(Other items please itemize)
5.1 | Keluar Sign |  |  |  | PCO LITE | MALAYSIA
5.2 | Emergency Light |  |  |  | PCO LITE | MALAYSIA
5.3 | Fluorescent Luminaires |  |  |  | PCO LITE | MALAYSIA
5.4 | 6W low loss ballast
5.5 | 2X18W Horizontal recessed round downlight
6 | WEATHERPROOF OUTDOOR LUMINAIRE & ACCESSORIES
(Please itemize)
6.1 | COMPOUND LIGHTING |  |  |  | GRUPPE (250W) | MALAYSIA
6.2 | LIGHTING COLUMNS |  |  |  | GALVAPOLE | MALAYSIA
7 | FAN
(Other items please itemize)
7.1 | CEILING FAN |  |  |  | KDK | MALAYSIA
7.2 | VENTILATING FAN |  |  |  | KDK | MALAYSIA
7.3 | WALL FAN |  |  |  | KDK | MALAYSIA
7.4 | OSILATING FAN
8 | UNDERFLOOR DUCTING SYSTEM |  |  |  | U-LI | MALAYSIA
(Other items please itemize)
8.1 | Heavy gauge super high impact uPVC ducts
8.2 | 3 compartment junction box c/w zink alloy die-cast cover
8.3 | 3 compartment service outlet box with zinc alloy die-cast cover
8.4 | 3 compartment vertical access box
9 | 3 WAYS COMPARTMENT
(Other items please itemize)
9.1 | 3 ways high impact uPVC compartment trunking
9.2 | 3 compartment service box
10 | TELEPHONE
(Other items please itemize)
10.1 | Digital Keyphone Unit
10.2 | Subscriber Distribution Frame (SDF)
10.3 | Main Distribution frame (MDF)
10.4 | Distribution Point Box (DP)
10.5 | PVC Grey Telephone Cabel
10.6 | P.E.U.T Jelly Filled underground cable
10.7 | Telephone Set
11 | ICT
(Other items please itemize)
11.1 | UTP CAT 6 Cables
11.2 | 8 Core Indoor Multimode 50/125 µm Fiber
11.3 | Metal back box & angle faceplate
11.4 | Modular type RJ45 jack
11.5 | 3.0m UTP Cat 6 patch cord
11.6 | Rackmountable Patch Panel/FTU
11.7 | 19" 15U Wall Mounted Rack
11.8 | 19" 42U Floor Standing Rack
12 | PA SYSTEM
(Other items please itemize)
12.1 | Horn Speaker
12.2 | Box Speaker
12.3 | Ceiling Speaker
12.4 | Mixer Amplifier
12.5 | Zone Selector
12.6 | DVD Player
12.7 | FM/AM Tuner
12.8 | Handheld Microphone
12.9 | 22 AWG Twisted Pair Jacketed Loudspeaker Cable
12.10' | Equipment Rack
13 | SMATV
(Other items please itemize)
13.1 | Broadband Amplifier
13.2 | Coupler
13.3 | Splitter
13.4 | Lightning Surge Arrester |  |  |  | SMARTUBE | MALAYSIA
13.5 | Antenna |  |  |  | SAGA | MALAYSIA
13.6 | RG6U 5C-2V satelite coaxial cable
13.7 | RG11U 7C-2V satelite coaxial cable
OTHER EQUIPMENTS PLEASE ITEMIZE
GALVANISED STEEL CONDUIT
RIGID HIGH IMPACT PVC CONDUIT & CONDUITS FITTINGS
Note: | HOT-DIP GALVANISED TRUNKING
| The tenderer is required to submit the catalogue for the purpose of tender evaluation |  | Tarikh :
Deklarasi Pentender:
Saya sedar dan ambil maklum bahawa kegagalan saya untuk menyemak maklumat terkini on-line dalam EMAL serta Pekeliling Kontrak Perbendaharaan Bil 14/2012 yang mengakibatkan keperluan teknikal tidak ditepati dan kegagalan saya untuk mengisi maklumat yang diperlukan dalam ruang-ruang yang disediakan ataupun kegagalan saya mengembalikan maklumat katalog serta dokumen yang lengkap dalam dokumen tender ini boleh menyebabkan tender saya ditolak.
Tandatangan Pentender:
Nama Pentender:
Cop Rasmi Pentender::