## COST
JADUAL PENENTUAN WEIGHTAGE (Bukan Sebahagian daripada Laporan Penilaian)
No. | SYSTEM | COST (RM) | WEIGHTAGE | ADJUSTED WEIGHTAGE
1 | Medical Gases Pipeline System | 5462899.9 | 49.7709 | 50
2 | Sterilisers & Asso. Equipment | 350000 | 3.1887 | 3
3 | Hot Water Recticulation System | 2357198 | 21.4757 | 21
4 | Dental Chair | 450000 | 4.0998 | 4
5 | Reverse Osmosis Water System | 206000 | 1.8768 | 2
6 | Laboratory Equipment | 550000 | 5.0109 | 5
7 | Mortuary Refrigerators | 400000 | 3.6443 | 4
8 | Pneumatic Tube System | 300000 | 2.7332 | 3
9 | Cold Room and Hot Room Associated | 250000 | 2.2777 | 2
10 | Conveyor Belt System | 300000 | 2.7332 | 3
11 | Audiometry System (Acoustic Room) | 150000 | 1.3666 | 1
12 | Hydrotheraphy Pool System | 200000 | 1.8221 | 2
13
14
15
16
TOTAL |  | 10976097.9 | 100 | 100
Note on C3: User: Penilai akan masukkan harga kos mekanikal
Note on E3: PASTIKAN TOTAL = 100 Perbundaran berdasarkan kos sistem mekanikal dan complexity system

## 1-9
Lampiran A
NAIKTARAF HOSPITAL TAWAU, SABAH (REKA DAN BINA)
PETENDER : 1/9
Petender 1/9
| SYSTEM | % | Wt % | Grade | WtGrade | Comments
1 | AIR-COND. & MECHANICAL VENTILATION |  | 36 | 5 | 180
1.1 | Design Proposal |  |  |  |  | 1. Water Cooled Chillers (550RT x 3)
| -Design Concept (write up) | 15 | 5.6842 | 3 | 17.0526 | compressor - screw
| -Design Concept Drawings (Layout and Schematic) | 15 | 5.6842 | 3 | 17.0526 | cooling tower - crossflow, 3 cell
| -System and equipment selection | 10 |  |  |  | Chilled water pump - Centrifugal
1.2 | Conceptual Design Calculation | 15 | 5.6842 | 3 | 17.0526 | Condenser pump - Centrifugal
1.3 | Technical Specification | 15 | 5.6842 | 3 | 17.0526 | make up water tank - hot dipped gal.
1.4 | Technical Data Of Major Equipment Offered | 15 | 5.6842 | 3 | 17.0526 | Eg 1: Chilled Water System - cooling tower, water pump, AHU, FCU, ducting, piping and etc
Eg 2: VRF, ACSD - Outdoor unit, Indoor unit, piping, ducting and control
1.5 | Catalogues Of Major Equipment Offered | 5 | 1.8947 | 2 | 3.7895
1.6 | Energy Efficiency Compliance | 5 | 1.8947 | 3 | 5.6842 | Eg 3: High efficiency chiller, inverter / VSD pump and etc
|  | 95 | 32.2105 |  | 94.7368
2 | LIFTS , DUMBWAITERS & ESCALATORS |  | 9 | 5 | 45
1.1 | Scope of work |  |  |  |  | Control System : AC VVVF
-Compliance to standard
| -Design brief / proposal write -up | 10 | 1.125 | 3 | 3.375
| -System and equipment selection | 10 |  | 3
1.2 | Design Calculation | 15 | 1.6875 | 3 | 5.0625
1.3 | Technical Specification | 10 | 1.125 | 3 | 3.375
1.4 | Technical Data Of Major Equipment Offered | 10 | 1.125 | 3 | 3.375
1.5 | Design Drawings |  |  |  | 0
| -Layout | 5 | 0.5625 | 3 | 1.6875 | Brand proposal :
| -Schematic | 10 | 1.125 | 3 | 3.375 | Kone/Otis/Hitachi
1.6 | Catalogues Of Major Equipment Offered | 10 | 1.125 | 4 | 4.5
1.7 | Energy Efficiency Compliance
|  | 80 | 7.875 |  | 24.75
1 | MEDICAL GASES PIPELINE SYSTEMS |  | 50 | 5 | 250
1.1 | Scope of work |  |  |  |  | Complying to need statement and MBOR
| -Compliance to standard | 10 | 5 | 4 | 20 | Compliance to HTM 02-01 (Latest version)
| -Design brief / proposal write -up |  |  |  |  | Operational and functional of the scope / system
| i) Oxygen | 3 | 1.5 | 3 | 4.5 | Eg: O2 : VIE 1no (6000L)
| ii) Nitrous Oxide | 2 | 1 | 4 | 4 | N2O manifold 2x6 cyl
| iii) Entonox | 2 | 1 | 3 | 3 | MA4 configuration - duplex/triplex
| iv) Medical Air | 2 | 1 | 4 | 4 | SA7 configuration - duplex/triplex
| v) Surgical Air | 2 | 1 | 3 | 3 | Vacuum - duplex/triplex
| vi) Vacuum | 2 | 1 | 3 | 3 | AGSS - duplex
| vii) AGSS | 2 | 1 | 4 | 4 | Pendants - swivel movement
| -System and equipment selection | 10 | 5 | 3 | 15
1.2 | Design Calculation | 15 | 7.5 | 3 | 22.5 | Design calculation (PE Endorsement)
1.3 | Technical Specification | 10 | 5 | 3 | 15 | Write-up specification provided on design, installation, T&C and maintenance
1.4 | Technical Data Of Major Equipment Offered | 10 | 5 | 3 | 15 | Specified the brand offerred (minimum 3 brand)
1.5 | Design Drawings c/w PE Endorsement |  | 0 |  |  | Design concept drawing (PE Endorsement)
| -Layout | 10 | 5 | 3 | 15
| -Schematic | 10 | 5 | 3 | 15
1.6 | Catalogues Of Major Equipment Offered | 10 | 5 | 3 | 15 | Original catalogue attached
|  | 100 | 50 |  | 158
2 | STERILISERS & ASSO. EQUIPMENT |  | 3 | 5 | 15
2.1 | Scope of work |  |  |  |  | Complying to need statement and MBOR
| -Compliance to standard | 5 | 0.15 | 2 | 0.3 | Compliance to HTM 2010
| -Design brief / proposal write -up | 15 | 0.45 | 2 | 0.9 | Operational and functional of the scope / system
| -System and equipment selection | 30 | 0.9 | 2 | 1.8
| i) Autoclave | / |  |  |  | Eg: Nos of equipment offered & capacity
| ii) Washer | /
| iii) Hot Air Dryer | /
| iv) Low Temp. Steril. | /
| v) Washer Disinfector | /
| vi) Bedpan Washer | /
| vii) Drying Cabinet | /
| viii) Warning Cabinet | /
| viiii) Ultrasonic washer | /
2.2 | Design Calculation | 10 | 0.3 | 3 | 0.9 | Design calculation (PE Endorsement)
2.3 | Technical Specification | 10 | 0.3 | 2 | 0.6 | Write-up specification provided on design, installation, T&C and maintenance
2.4 | Technical Data Of Major Equipment Offered | 10 | 0.3 | 2 | 0.6 | Specified the brand offered (minimum 3 brand)
2.5 | Design Drawings c/w PE Endorsement |  |  |  |  | Design concept drawing (PE Endorsement)
| -Layout | 5 | 0.15 | 3 | 0.45
| -Schematic | 5 | 0.15 | 2 | 0.3
2.6 | Catalogues Of Major Equipment Offered | 10 | 0.3 | 2 | 0.6 | Original catalogue attached
|  | 100 | 3 |  | 6.45
|  | % | Wt % | Grade | WtGrade | Comments
3 | HOT WATER RECTICULATION SYSTEM |  | 21 | 5 | 105
3.1 | Scope of work |  |  |  |  | Complying to need statement and MBOR
| -Compliance to standard | 10 | 2.1 | 2 | 4.2 | Authority (JKKP) compliance
| -Design brief / proposal write -up | 10 | 2.1 | 3 | 6.3 | Operational and functional of the scope / system
| -System and equipment selection | 10 | 2.1 | 3 | 6.3 | Centralized
3.2 | Design Calculation | 10 | 2.1 | 3 | 6.3 | Design calculation (PE Endorsement)
3.3 | Technical Specification | 15 | 3.15 | 3 | 9.45 | Write-up specification provided on design, installation, T&C and maintenance
3.4 | Technical Data Of Major Equipment Offered | 10 | 2.1 | 3 | 6.3 | Specified the brand offered (minimum 3 brand)
3.5 | Design Drawings c/w PE Endorsement |  |  |  |  | Design concept drawing (PE Endorsement)
| -Layout | 5 | 1.05 | 3 | 3.15
| -Schematic | 10 | 2.1 | 4 | 8.4
3.6 | Catalogues Of Major Equipment Offered | 10 | 2.1 | 3 | 6.3 | Original catalogue attached
3.7 | Energy Efficiency Compliance | 10 | 2.1 | 3 | 6.3 | Eg: Heat Pump system
|  | 100 | 21 |  | 63
7 | BUILDING SUPERVISORY |  | 5 | 5 | 25
7.1 | Need Statement | 30 | 1.5 | 3 | 4.5 | BAS workstation - windows 7
7.2 | BSS | 15 | 0.75 | 3 | 2.25
7.3 | Design Calculation | 15 | 0.75 | 3 | 2.25
7.4 | Technical Specification | 10 | 0.5 | 3 | 1.5
7.5 | Technical Data | 10 | 0.5 | 3 | 1.5 | Brand proposal :
7.6 | Design Drawings | 10 | 0.5 | 3 | 1.5 | BAS Workstation - Dell/ HP
7.7 | Catalogues | 10 | 0.5 | 4 | 2 | Network Switch - D-Link / TP link
|  | 100 | 5 |  | 15.5
4 | Dental Chair |  | 4 | 5 | 20
4.1 | Scope of work |  |  |  |  | Complying to need statement and MBOR
| -Compliance to standard | 10 | 0.4 | 3 | 1.2 | Eg: Medical Dental grade compressor and suction
| -Design brief / proposal write -up | 10 | 0.4 | 3 | 1.2 | Operational and functional of the scope / system
| -System and equipment selection | 10 | 0.4 | 4 | 1.6 | Eg: Specialist Dental, Officer Dental
4.2 | Design Calculation | 10 | 0.4 | 3 | 1.2 | Design calculation (PE Endorsement)
4.3 | Technical Specification | 15 | 0.6 | 3 | 1.8 | Write-up specification provided on design, installation, T&C and maintenance
4.4 | Technical Data Of Major Equipment Offered | 15 | 0.6 | 3 | 1.8 | Specified the brand offered (minimum 3 brand)
4.5 | Design Drawings c/w PE Endorsement |  |  |  |  | Design concept drawing (PE Endorsement)
| -Layout | 10 | 0.4 | 3 | 1.2
| -Schematic | 10 | 0.4 | 4 | 1.6
4.6 | Catalogues Of Major Equipment Offered | 10 | 0.4 | 3 | 1.2 | Original catalogue attached
|  | 100 | 4 |  | 12.8
|  | % | Wt % | Grade | WtGrade | Comments
5 | Reverse Osmosis Water System |  | 2 | 5 | 10
5.1 | Scope of work |  |  |  |  | Complying to need statement and MBOR
| -Compliance to standard | 10 | 0.2 | 3 | 0.6 | Compliance to latest regulation
| -Design brief / proposal write -up | 10 | 0.2 | 3 | 0.6 | Operational and functional of the scope / system
| -System and equipment selection | 15 | 0.3 | 3 | 0.9 | Eg: 100% stand-by system
5.2 | Design Calculation | 10 | 0.2 | 3 | 0.6 | Design calculation (PE Endorsement)
5.3 | Technical Specification | 10 | 0.2 | 3 | 0.6 | Write-up specification provided on design, installation, T&C and maintenance
5.4 | Technical Data Of Major Equipment Offered | 15 | 0.3 | 3 | 0.9 | Specified the brand offered (minimum 3 brand)
5.5 | Design Drawings c/w PE Endorsement |  |  |  |  | Design concept drawing (PE Endorsement)
| -Layout | 10 | 0.2 | 3 | 0.6
| -Schematic | 10 | 0.2 | 3 | 0.6
5.6 | Catalogues Of Major Equipment Offered | 10 | 0.2 | 2 | 0.4 | Original catalogue attached
|  | 100 | 2 |  | 5.8
|  | % | Wt % | Grade | WtGrade | Comments
6 | Laboratory Equipment |  | 5 | 5 | 25
6.1 | Scope of work |  |  |  |  | Complying to need statement and MBOR
| -Compliance to standard | 10 | 0.5 | 2 | 1 | Compliance to latest regulation
| -Design brief / proposal write -up | 10 | 0.5 | 3 | 1.5 | Operational and functional of the scope / system
| -System and equipment selection | 15 | 0.75 | 2 | 1.5 | Eg: Fume Cupboard, biosafety cabinet etc
6.2 | Design Calculation | 10 | 0.5 | 3 | 1.5 | Design calculation (PE Endorsement)
6.3 | Technical Specification | 10 | 0.5 | 3 | 1.5 | Write-up specification provided on design, installation, T&C and maintenance
6.4 | Technical Data Of Major Equipment Offered | 15 | 0.75 | 3 | 2.25 | Specified the brand offered (minimum 3 brand)
6.5 | Design Drawings c/w PE Endorsement |  |  |  |  | Design concept drawing (PE Endorsement)
| -Layout | 10 | 0.5 | 3 | 1.5
| -Schematic | 10 | 0.5 | 2 | 1
6.6 | Catalogues Of Major Equipment Offered | 10 | 0.5 | 2 | 1 | Original catalogue attached
|  | 100 | 5 |  | 12.75
11 | Internal Cold Water Plumbing |  | 5 | 5 | 25
11.1 | Need Statement | 30 | 1.5 | 3 | 4.5 | water tank - FRP
11.2 | Design Calculation | 20 | 1 | 3 | 3 | Piping - Stainless Steel 304
11.3 | Technical Specification | 15 | 0.75 | 3 | 2.25
11.4 | Technical Data | 10 | 0.5 | 3 | 1.5
11.5 | Design Drawings | 15 | 0.75 | 3 | 2.25
11.6 | Catalogues | 10 | 0.5 | 4 | 2
|  | 100 | 5 |  | 15.5
12 | Internal Sanitary and Waste Water System |  | 3 | 5 | 15
12.1 | Need Statement | 30 | 0.9 | 3 | 2.7 | Piping - upvc/ cast iron/ polyproylene
12.2 | Design Calculation | 0 | 0 | 2 | 0
12.3 | Technical Specification | 20 | 0.6 | 3 | 1.8
12.4 | Technical Data | 15 | 0.45 | 3 | 1.35 | Brand proposal :
12.5 | Design Drawings | 20 | 0.6 | 3 | 1.8 | Piping - Paling/Edip/DHI
12.6 | Catalogues | 15 | 0.45 | 4 | 1.8 | Gully Traps - Paling / Exact / Bina Plastic
|  | 100 | 3 |  | 9.45
|  | % | Wt % | Grade | WtGrade | Comments
7 | Mortuary Refrigerators |  | 4 | 5 | 20
7.1 | Scope of work |  |  |  |  | Complying to need statement and MBOR
| -Compliance to standard | 10 | 0.4 | 3 | 1.2 | Compliance to latest regulation
| -Design brief / proposal write -up | 10 | 0.4 | 3 | 1.2 | Operational and functional of the scope / system
| -System and equipment selection | 15 | 0.6 | 3 | 1.8 | Eg: Type of refrigerator, muslim or non-muslim for foul body (temp. between 2-6 degree C)
7.2 | Design Calculation | 10 | 0.4 | 3 | 1.2 | Design calculation (PE Endorsement)
7.3 | Technical Specification | 10 | 0.4 | 3 | 1.2 | Write-up specification provided on design, installation, T&C and maintenance
7.4 | Technical Data Of Major Equipment Offered | 15 | 0.6 | 3 | 1.8 | Specified the brand offered (minimum 3 brand)
7.5 | Design Drawings c/w PE Endorsement |  |  |  |  | Design concept drawing (PE Endorsement)
| -Layout | 10 | 0.4 | 3 | 1.2
| -Schematic | 10 | 0.4 | 4 | 1.6
7.6 | Catalogues Of Major Equipment Offered | 10 | 0.4 | 4 | 1.6 | Original catalogue attached
|  | 100 | 4 |  | 12.8
|  | % | Wt % | Grade | WtGrade | Comments
8 | Pneumatic Tube System |  | 3 | 5 | 15
8.1 | Scope of work |  |  |  |  | Complying to need statement and MBOR
| -Compliance to standard | 10 | 0.3 | 4 | 1.2 | Compliance to latest regulation
| -Design brief / proposal write -up | 10 | 0.3 | 3 | 0.9 | Operational and functional of the scope / system
| -System and equipment selection | 15 | 0.45 | 3 | 1.35 | Eg: Fully automatic processor control, front loading type
8.2 | Design Calculation | 10 | 0.3 | 3 | 0.9 | Design calculation (PE Endorsement)
8.3 | Technical Specification | 10 | 0.3 | 3 | 0.9 | Write-up specification provided on design, installation, T&C and maintenance
8.4 | Technical Data Of Major Equipment Offered | 15 | 0.45 | 5 | 2.25 | Specified the brand offered (minimum 3 brand)
8.5 | Design Drawings c/w PE Endorsement |  |  |  |  | Design concept drawing (PE Endorsement)
| -Layout | 10 | 0.3 | 3 | 0.9
| -Schematic | 10 | 0.3 | 3 | 0.9
8.6 | Catalogues Of Major Equipment Offered | 10 | 0.3 | 3 | 0.9 | Original catalogue attached
|  | 100 | 3 |  | 10.2
|  | % | Wt % | Grade | WtGrade | Comments
9 | Cold Room and Hot Room Associated |  | 2 | 5 | 10
9.1 | Scope of work |  |  |  |  | Complying to need statement and MBOR
| -Compliance to standard | 10 | 0.2 | 3 | 0.6 | Compliance to ASHRAE
| -Design brief / proposal write -up | 10 | 0.2 | 3 | 0.6 | Operational and functional of the scope / system
| -System and equipment selection | 15 | 0.3 | 3 | 0.9
9.2 | Design Calculation | 10 | 0.2 | 3 | 0.6 | Design calculation (PE Endorsement)
9.3 | Technical Specification | 10 | 0.2 | 3 | 0.6 | Write-up specification provided on design, installation, T&C and maintenance
9.4 | Technical Data Of Major Equipment Offered | 15 | 0.3 | 3 | 0.9 | Specified the brand offered (minimum 3 brand)
9.5 | Design Drawings c/w PE Endorsement |  | 0 |  |  | Design concept drawing (PE Endorsement)
| -Layout | 10 | 0.2 | 3 | 0.6
| -Schematic | 10 | 0.2 | 3 | 0.6
9.6 | Catalogues Of Major Equipment Offered | 10 | 0.2 | 3 | 0.6 | Original catalogue attached
|  | 100 | 2 |  | 6
|  | % | Wt % | Grade | WtGrade | Comments
10 | Conveyor Belt System |  | 3 | 5 | 15
10.1 | Scope of work |  |  |  |  | Complying to need statement and MBOR
| -Compliance to standard | 10 | 0.3 | 3 | 0.9
| -Design brief / proposal write -up | 10 | 0.3 | 3 | 0.9 | Operational and functional of the scope / system
| -System and equipment selection | 15 | 0.45 | 3 | 1.35
10.2 | Design Calculation | 10 | 0.3 | 3 | 0.9 | Design calculation (PE Endorsement)
10.3 | Technical Specification | 10 | 0.3 | 3 | 0.9 | Write-up specification provided on design, installation, T&C and maintenance
10.4 | Technical Data Of Major Equipment Offered | 15 | 0.45 | 3 | 1.35 | Specified the brand offered (minimum 3 brand)
10.5 | Design Drawings c/w PE Endorsement |  |  |  |  | Design concept drawing (PE Endorsement)
| -Layout | 10 | 0.3 | 3 | 0.9
| -Schematic | 10 | 0.3 | 3 | 0.9
10.6 | Catalogues Of Major Equipment Offered | 10 | 0.3 | 3 | 0.9 | Original catalogue attached
|  | 100 | 3 |  | 9
|  | % | Wt % | Grade | WtGrade | Comments
11 | Audiometry System (Acoustic Room) |  | 1 | 5 | 5
11.1 | Scope of work |  |  |  |  | Complying to need statement and MBOR
| -Compliance to standard | 10 | 0.1 | 3 | 0.3
| -Design brief / proposal write -up | 10 | 0.1 | 3 | 0.3 | Operational and functional of the scope / system
| -System and equipment selection | 15 | 0.15 | 3 | 0.45 | Eg: Frequency 6Hz - 6.5Hz, Noise Level NC 20
11.2 | Design Calculation | 10 | 0.1 | 3 | 0.3 | Design calculation (PE Endorsement)
11.3 | Technical Specification | 10 | 0.1 | 2 | 0.2 | Write-up specification provided on design, installation, T&C and maintenance
11.4 | Technical Data Of Major Equipment Offered | 15 | 0.15 | 3 | 0.45 | Specified the brand offered (minimum 3 brand)
11.5 | Design Drawings c/w PE Endorsement |  |  |  |  | Design concept drawing (PE Endorsement)
| -Layout | 10 | 0.1 | 2 | 0.2
| -Schematic | 10 | 0.1 | 3 | 0.3
11.6 | Catalogues Of Major Equipment Offered | 10 | 0.1 | 3 | 0.3 | Original catalogue attached
|  | 100 | 1 |  | 2.8
|  | % | Wt % | Grade | WtGrade | Comments
12 | Hydrotheraphy Pool System |  | 2 | 5 | 10
12.1 | Scope of work |  |  |  |  | Complying to need statement and MBOR
| -Compliance to standard | 10 | 0.2 | 3 | 0.6 | Compliance to latest regulation
| -Design brief / proposal write -up | 10 | 0.2 | 3 | 0.6 | Operational and functional of the scope / system
| -System and equipment selection | 15 | 0.3 | 3 | 0.9 | Eg: Raised modular pool
12.2 | Design Calculation | 10 | 0.2 | 2 | 0.4 | Design calculation (PE Endorsement)
12.3 | Technical Specification | 10 | 0.2 | 3 | 0.6 | Write-up specification provided on design, installation, T&C and maintenance
12.4 | Technical Data Of Major Equipment Offered | 15 | 0.3 | 3 | 0.9 | Specified the brand offered (minimum 3 brand)
12.5 | Design Drawings c/w PE Endorsement |  |  |  |  | Design concept drawing (PE Endorsement)
| -Layout | 10 | 0.2 | 2 | 0.4
| -Schematic | 10 | 0.2 | 3 | 0.6
12.6 | Catalogues Of Major Equipment Offered | 10 | 0.2 | 3 | 0.6 | Original catalogue attached
|  | 100 | 2 |  | 5.6
| Gred | Penerangan
| 0 | Tiada tawaran atau cadangan dikemukakan
| 1 | Cadangan tidak memenuhi Kehendak Kerajaan dan tidak boleh diterima
| 2 | Cadangan tidak jelas dan perlu pengubahsuaian / penambahbaikan besar sebelum diterima
| 3 | Cadangan hampir menepati Kehendak Kerajaan tetapi memerlukan sedikit pengubahsuaian / penambahbaikan sebelum diterima
| 4 | Cadangan pada amnya menepati Kehendak Kerajaan tetapi tiada kelebihan
| 5 | Cadangan menepati Kehendak Kerajaan dan terdapat kelebihan.

## Keputusan
SUMMARY OF EVALUATION | [9 empty] | Lampiran A
PROJECT :
BIL | SISTEM | Wt | PETENDER
|  | % | 1/9 | 2/9 | 3/9 | 4/9 | 5/9 | 6/9 | 7/9 | 8/9 | 9/9
1 | Medical Gases Pipeline Systems | 250 | 158
2 | Sterilisers & Asso. Equipment | 15 | 6.45
3 | Hot Water Recticulation System | 105 | 63
4 | Dental Chair & Asso. Equipment | 20 | 12.8
5 | Reverse Osmosis Water System | 10 | 5.8
6 | Laboratory Equipment | 25 | 12.75
7 | Mortuary Refrigerators | 20 | 12.8
8 | Pneumatic Tube System | 15 | 10.2
9 | Cold Room and Hot Room Associated | 10 | 6
10 | Conveyor Belt System | 15 | 9
11 | Audiometry System (Acoustic Room) | 5 | 2.8
12 | Hydrotheraphy Pool System | 10 | 5.6
| JUMLAH MARKAH | 500 | 305.2
| % WAJARAN : Jumlah markah diperolehi x 100% | 100 | 61.04
Jumlah markah keseluruhan
| % WAJARAN : Jumlah markah diperolehi x 20% | 20 | 12.208
Jumlah markah keseluruhan