Projek : NAMA PROJEK

Petender : 1/9

Skop : MEKANIKAL

Kontraktor hendaklah sentiasa bertanggungjawab merujuk dan mematuhi kesemua keperluan / kehendak yang terdapat di dalam brif projek dan dokumen *pre-bid* (*mechanical needs statement*).

| **No.** | ***Contractual Requirement*** | **Contractor’s Offer** | **JKR Comments** | **Contractor’s Commitment/ Compliance** |
| --- | --- | --- | --- | --- |
| **A** | **GENERAL REQUIREMENT** | | | |
| i. | Appointment of Mechanical Consultant registered with Kementerian Kewangan Malaysia, the Board of Engineers Malaysia. | No appointment or such statement stated in the contractor proposal. | To comply to mechanical pre-bid |  |
| ii. | Appointment of subcontractor for Mechanical Works shall be CIDB registered. | No appointment or such statement stated in the contractor proposal. | To comply to mechanical pre-bid |  |
| **1** | **MEDICAL GASES PIPELINE SYSTEM** | | | |
| 1.1 | Scope of work  -Compliance to standard  -Design brief / proposal write -up  i) Oxygen  ii) Nitrous Oxide  iii) Entonox  iv) Medical Air  v) Surgical Air  vi) Vacuum  vii) AGSS  -System and equipment selection | Submitted but incomplete | To comply to mechanical pre-bid |  |
| 1.2 | Design Calculation | No proposal | To comply to mechanical pre-bid |  |
| 1.3 | Technical Specification |  |  |  |
| 1.4 | Technical Data Of Major Equipment Offered |  |  |  |
| 1.5 | Design Drawings  - Layout  - Schematic |  |  |  |
| 1.6 | Catalogues Of Major Equipment Offered |  |  |  |
| **2.0** | **STERILISERS & ASSO. EQUIPMENT** | | | |
| 2.1 | Scope of work  -Compliance to standard  -Design brief / proposal write -up  -System and equipment selection  i) Autoclave  ii) Washer  iii) Hot Air Dryer  iv) Low Temp. Steril.  v) Washer Disinfector  vi) Bedpan Washer  vii) Drying Cabinet  viii) Warning Cabinet  viiii) Ultrasonic washer |  |  |  |
| 2.2 | Design Calculation | No proposal | To comply to mechanical pre-bid |  |
| 2.3 | Technical Specification |  |  |  |
| 2.4 | Technical Data Of Major Equipment Offered |  |  |  |
| 2.5 | Design Drawings  - Layout  - Schematic |  |  |  |
| 2.6 | Catalogues Of Major Equipment Offered |  |  |  |
| **3.0** | **HOT WATER RECTICULATION SYSTEM** | | | |
| 3.1 | Scope of work  -Compliance to standard  -Design brief / proposal write -up  -System and equipment selection |  |  |  |
| 3.2 | Design Calculation | No proposal | To comply to mechanical pre-bid |  |
| 3.3 | Technical Specification |  |  |  |
| 3.4 | Technical Data Of Major Equipment Offered |  |  |  |
| 3.5 | Design Drawings  - Layout  - Schematic |  |  |  |
| 3.6 | Catalogues Of Major Equipment Offered |  |  |  |
| 3.7 | Energy Efficiency Compliance |  |  |  |
| **4.0** | **Dental Chair** | | | |
| 4.1 | Scope of work  -Compliance to standard  -Design brief / proposal write -up  -System and equipment selection |  |  |  |
| 4.2 | Design Calculation | No proposal | To comply to mechanical pre-bid |  |
| 4.3 | Technical Specification |  |  |  |
| 4.4 | Technical Data Of Major Equipment Offered |  |  |  |
| 4.5 | Design Drawings  - Layout  - Schematic |  |  |  |
| 4.6 | Catalogues Of Major Equipment Offered |  |  |  |
| **5.0** | **Reverse Osmosis Water System** | | | |
| 5.1 | ………………. |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
| **6.0** | **Laboratory Equipment** | | | |
| 6.1 | ………………. |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
| **7.0** | **Mortuary Refrigerators** | | | |
| 7.1 | ………………. |  |  |  |
|  |  |  |  |  |

|  |  |  |
| --- | --- | --- |
| Disediakan oleh :  ……………..…………  (Tandatangan)  Nama Penuh :  Jawatan : JMK / JMP  Cop Jabatan/Pejabat : | Saya/Kami yang menandatangani di bawah ini bersetuju untuk mematuhi semua tindakan pematuhan seperti yang tersebut di atas tanpa sebarang kos tambahan. | |
| ……………………………………..…  (Tandatangan Kontraktor)  Nama Penuh :  No. K/P :  Atas Sifat :  Diberi kuasa sepenuhnya untuk menandatangani untuk dan bagi pihak  …………………………………  (Meteri atau Cop Kontraktor)  Tarikh : | ………………………………  (Tandatangan Saksi)  Nama Penuh :  No. K/P :  Pekerjaan :  Alamat :  Tarikh : |
|  |  |  |