Projek : NAMA PROJEK

Petender : 1/9

Skop : MEKANIKAL

Kontraktor hendaklah sentiasa bertanggungjawab merujuk dan mematuhi kesemua keperluan / kehendak yang terdapat di dalam brif projek dan dokumen *pre-bid* (*mechanical needs statement*).

| **No.** | ***Contractual Requirement*** | **Contractor’s Offer** | **JKR Comments** | **Contractor’s Commitment/ Compliance** |
| --- | --- | --- | --- | --- |
| **A** | **GENERAL REQUIREMENT** |
| i. | Appointment of Mechanical Consultant registered with Kementerian Kewangan Malaysia, the Board of Engineers Malaysia.  | No appointment or such statement stated in the contractor proposal.  | To comply to mechanical pre-bid |  |
| ii. | Appointment of subcontractor for Mechanical Works shall be CIDB registered. | No appointment or such statement stated in the contractor proposal. | To comply to mechanical pre-bid  |  |
| **1** | **MEDICAL GASES PIPELINE SYSTEM** |
| 1.1 | Scope of work-Compliance to standard-Design brief / proposal write -upi) Oxygenii) Nitrous Oxideiii) Entonoxiv) Medical Airv) Surgical Airvi) Vacuumvii) AGSS-System and equipment selection | Submitted but incomplete | To comply to mechanical pre-bid |  |
| 1.2 | Design Calculation | No proposal | To comply to mechanical pre-bid |  |
| 1.3 | Technical Specification |  |  |  |
| 1.4 | Technical Data Of Major Equipment Offered |  |  |  |
| 1.5 | Design Drawings- Layout- Schematic |  |  |  |
| 1.6 | Catalogues Of Major Equipment Offered |  |  |  |
| **2.0** | **STERILISERS & ASSO. EQUIPMENT** |
| 2.1 | Scope of work-Compliance to standard-Design brief / proposal write -up-System and equipment selectioni) Autoclaveii) Washeriii) Hot Air Dryeriv) Low Temp. Steril.v) Washer Disinfectorvi) Bedpan Washervii) Drying Cabinetviii) Warning Cabinetviiii) Ultrasonic washer |  |  |  |
| 2.2 | Design Calculation | No proposal | To comply to mechanical pre-bid |  |
| 2.3 | Technical Specification |  |  |  |
| 2.4 | Technical Data Of Major Equipment Offered |  |  |  |
| 2.5 | Design Drawings- Layout- Schematic |  |  |  |
| 2.6 | Catalogues Of Major Equipment Offered |  |  |  |
| **3.0** | **HOT WATER RECTICULATION SYSTEM** |
| 3.1 | Scope of work-Compliance to standard-Design brief / proposal write -up-System and equipment selection |  |  |  |
| 3.2 | Design Calculation | No proposal | To comply to mechanical pre-bid |  |
| 3.3 | Technical Specification |  |  |  |
| 3.4 | Technical Data Of Major Equipment Offered |  |  |  |
| 3.5 | Design Drawings- Layout- Schematic |  |  |  |
| 3.6 | Catalogues Of Major Equipment Offered |  |  |  |
| 3.7 | Energy Efficiency Compliance |  |  |  |
| **4.0** | **Dental Chair** |
| 4.1 | Scope of work-Compliance to standard-Design brief / proposal write -up-System and equipment selection |  |  |  |
| 4.2 | Design Calculation | No proposal | To comply to mechanical pre-bid |  |
| 4.3 | Technical Specification |  |  |  |
| 4.4 | Technical Data Of Major Equipment Offered |  |  |  |
| 4.5 | Design Drawings- Layout- Schematic |  |  |  |
| 4.6 | Catalogues Of Major Equipment Offered |  |  |  |
| **5.0** | **Reverse Osmosis Water System** |
| 5.1 | ………………. |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
| **6.0** | **Laboratory Equipment** |
| 6.1 | ………………. |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
| **7.0** | **Mortuary Refrigerators** |
| 7.1 | ………………. |  |  |  |
|  |  |  |  |  |

|  |  |
| --- | --- |
| Disediakan oleh :……………..…………(Tandatangan)Nama Penuh :Jawatan : JMK / JMPCop Jabatan/Pejabat : | Saya/Kami yang menandatangani di bawah ini bersetuju untuk mematuhi semua tindakan pematuhan seperti yang tersebut di atas tanpa sebarang kos tambahan. |
| ……………………………………..…(Tandatangan Kontraktor)Nama Penuh :No. K/P :Atas Sifat :Diberi kuasa sepenuhnya untuk menandatangani untuk dan bagi pihak …………………………………(Meteri atau Cop Kontraktor)Tarikh : |  ……………………………… (Tandatangan Saksi) Nama Penuh : No. K/P : Pekerjaan : Alamat : Tarikh : |
|  |  |  |