## SECTION 9
PROJEK |  | :
SECTION 9 |  | : SCHEDULE OF TENDER PRICES
The prices entered in this schedule shall be for the supply,delivery, installation, testing and commissioning of the complete Dental Chair System and other ancillary equipment in accordance with the requirements of the specifications and drawing.
The breakdown of price are for major component in the schedule of prices and it is not exhaustive.
It is contractor's responsibility to price out all scope of works as per tender drawings and specification even
through is not specifically indicated in the schedule of price.
9.1 DENTAL CHAIR SYSTEM
ITEM | DESCRIPTION |  | PRICES (RM)
1 | Supply,delivery and installation of Four (4) nos. dental officer's unit c/w all attachments and water filter. |  | 0
2 | Supply,delivery and installation of One (1) no. dental specialist's unit c/w all attachments and water filter. |  | 0
3 | Supply,delivery and installation of One (1) lot piping works from compressor room to all dental’s junction box, all dental technician working units, thermoforming unit and pneumatic chisel outlet for complete installation with all necessary attachments, valves and isolator switch. |  | 0
4 | Supply, delivery and installation of One (1) lot piping works from suction room to all dental’s junction box with all necessary attachments, valves and isolator switch. |  | 0
5 | Supply,delivery and installation of a complete dental air grade compressed air system comprising of two compressor (one duty and one standby), dryer system, air tank reservoir, all necessary fittings, pipeworks, plinth, dust filter, water filter, bacterial air filter and all necessary electrical and control wiring, switchboard and remote isolation switch with light indicator. |  | 0
6 | Supply,delivery and installation of a complete dry suction air system comprising of two suction unit (one duty and one standby), all necessary fittings, pipeworks, plinth, bacterial air filter, water filter and all necessary electrical and control wiring, switchboard and remote isolation switch with light indicator. |  | 0
7 | Supply,delivery and installation of heavy duty water filter complete with all necessary attachments.
8 | Supply , delivery and installation Two (2) nos Dental Technician Working Unit complete with dust extraction system, laboratory chair and all necessary attachments. |  | 0
SUB TOTAL TO BE CARRIED TO SUMMARY OF PRICES |  |  | 0
9.2 GENERAL ITEM
ITEM | DESCRIPTION |  | PRICES (RM)
1 | Preliminaries including insurance performance bond premium, preparation of contract document (12 copies) working drawings, submission process for endorsement of installation to fulfill authorities requirement. |  | 0
2 | Testing & Commissioning. |  | 0
3 | Machining, cutting and boring of holes in walls, floors etc and making good to the Satisfaction of the S.O. |  | 0
4 | Instruction manuals, maintenance manuals and as built drawings of the system and training as specified in Section 5 part II. |  | 0
5 | Obtain, and fill in, all notices required by the mentioned authorities, as specified in Section 4. |  | 0
6 | One (1) year maintenance & servicing. |  | INCLUSIVE
7 | Any items necessary but not included above.
| i) |  | 0
| ii) |  | 0
SUB TOTAL TO BE CARRIED TO SUMMARY OF PRICES |  |  | 0
9.3 SUMMARY OF PRICES
ITEM | DESCRIPTION |  | PRICES (RM)
9.1 | DENTAL CHAIR SYSTEM |  | 0
9.2 | GENERAL ITEM |  | 0
TOTAL TO BE CARRIED TO FORM OF TENDER |  |  | 0
RINGGIT MALAYSIA :
(Signature of Sub-Contractor)
Name and address (with stamp):
Date:
(Signature of Wittness)
Name and address (with stamp):
Date: